|  |
| --- |
| **SPANISH FLAT WATER BOARD****MINUTES OF THE MEETING****July 8, 2021** |
| **Directors Present** | **Public Present** | **Staff Present** |
| Wesley PlunkettJulia RobinsonDon Williams |  | Steve SilvaPaul QuarneriRuthann Miller |
| **MEETING CALLED TO ORDER**: 6:06 pm **PREVIOUS MINUTES APPROVED BY**: Don Williams, 2nd by Wesley Plunket**PUBLIC COMMENTS**: N/A**FINANCIAL REPORTS**:Main bank account currently has approx. $178,500. The two other accounts have a combined total of approx. $3,500. Will look into closing small accounts and adding the funds into the main bank account.**OLD BUSINESS**: Fire Recovery: Not much advancement has been made in repairs and clean up since last month. Still waiting on PG&E for a meter. Napa Electric is still working on Spanish Flats lake controls. Frank Mosley installed control panels for Sugar Loaf Booster pumps. AT&T put in 6 new poles at Berryessa Pines.**NEW BUSINESS**:Audit: Marcia Ritz and Ruthann Miller worked on and filed paperwork for audit with CPA. State Financial Transaction Report is being completed by auditor using unaudited numbers.Fire Hydrant Status: There may be issues with 2 hydrants in Berryessa Pines; Steve Silva will do a service check on all hydrants.**OPERATIONS**:Plant is working well but still waiting the finished installation of control panels to minimize required monitoring.**MOTION TO ADJOURN**: 6:31 pm by Don Williams, 2nd by Julia Robinson |